Glucose Data Preprocessing: glucose_signal_main.m

Overview: This script performs preprocessing steps on glucose sensor data for multiple participants.

Output: The script generates various outputs:

- In each participants’ folder Projects\TUE009_DFG_Glucose_RPE\13_Data\Glucose_Sensor\P0XX:

  - Adjusted signal plot: saved as '<participant_id>_signal_adjusted.png'.

  - Summary matrix plot: saved as '<participant_id>_summary_matrix_adjusted.png'.

  - Adjusted signal data: saved as '<participant_id>_signal_adjusted.mat'.

  - Summary matrix data: saved as '<participant_id>_summary_adjusted.mat'.

  - Binned data (timetable): saved as '<participant_id>_binned_data.mat'.

- Glucose output including all participants in Projects\TUE009_DFG_Glucose_RPE\13_Data\Glucose_Sensor:

  - TG_all_subjects.csv → includes id, time, glucose level, and estimated intravascular glucose (interpolated 5 min ahead)

- Quality check data for all participants Projects\TUE009_DFG_Glucose_RPE\11_Interim_analyses\Plot_Glucose_Sensor\Summary_plots:

  - qc_table.csv → includes id, number of recorded days, outlier (regarding recorded time), missing data percentage, missing data in days, minimum value, maximum value, baseline value, baselineime

Dependencies: This script needs the following functions in the same parent directory:

- inferno.m → colormap

- msbackadj_mod.m → MATLAB’s function to correct baseline of signal with peaks https://de.mathworks.com/help/bioinfo/ref/msbackadj.html

Note: Before running the script, make sure you have the glucose sensor data files in CSV format for each participant, stored in separate directories named using the following convention: 'P' + participant ID (e.g., 'P001', 'P002', etc.). The script file and the participant directories should be placed in the same parent directory.

Description:

Step 1: Setting up parameters

- The script begins by defining several parameters for data processing.

  - 'fs' is the sampling frequency, set to a value of 5 minutes.

  - 'window_length' defines the length of the sliding window for binning the data, set to 1 hour.

  - 'window_stride' determines the time interval between successive windows, set to 5 minutes.

  - 'start_time' and 'end_time' specify the time range within which the baseline is calculated (e.g., set to 0 (midnight) and 8 (8 AM),
respectively).

Step 2: Processing data for each participant

- The script loops through the list of participant Ids.

- For each participant, it performs the following steps:

  - Create a timetable with recorded values: The script reads the glucose sensor data from the participant's CSV file. Only data with recording type 0 is retained.
The glucose values and corresponding timestamps are extracted and sorted chronologically.

  - Get the baseline glucose value:
The script calculates the baseline value and time for each
participant using the 'Get_baseline_offset' function.

  - Get the adjusted and smoothed signal: The script calls the 'Get_adjusted_signal' function to obtain the adjusted glucose signal for each participant. The function takes the baseline value into account during adjustment.

  - Add estimated intravascular glucose value

  - Get binned data and summary matrix: The script uses the 'Get_matrix' function to bin the adjusted
signal into uniform time intervals defined by 'window_length'
and 'window_stride'. The function also generates a summary matrix, 'matrix', which
contains the average glucose value for each time bin.

  - Save output: The script saves various outputs for each participant:

  - Compute parameters for QC: The script computes several parameters for quality control, including the percentage of missing data, number of missing data days, number of days recorded, minimum glucose value, and maximum glucose value.

Step 3: Save QC table

- The script creates a summary table ('Summary_Table') containing the
computed QC parameters for all participants.

- Outliers in the 'DaysRecorded' column are removed using the 'rmoutliers' function, and the resulting column is added to the table.

- The summary table is saved as a CSV file named 'qc_table.csv' in the
'Summary_plots' directory.

Step 4: Create and save table with glucose recordings from all subjects

Helper functions

Get_baseline_offset

Syntax: [glucose_baseline, time_baseline] = Get_baseline_offset(TG, start_time, end_time, fs, window_length, window_stride)

Description: This function calculates the baseline glucose level and the corresponding time of a glucose sensor recording within a specified time range. The baseline is estimated by sliding a window over the selected time period and computing the average glucose value within each window. The window with the lowest standard deviation is considered to represent the baseline, and its average glucose value is returned.

Parameters:

TG: timetable

time and glucose values

start_time: double

time of the day to start searching for baseline value

end_time: double

time of the day to stop searching for baseline value

fs: duration

sampling frequency

window_length: duration

length of the window used to search the baseline

window_stride: duration

stride of the window used to search the baseline

Returns:

glucose_baseline: double

estimated glucose baseline value

time_baseline: duration

time of the day of the estimated glucose baseline level

Get_adjusted_signal

Syntax: [full_signal,TG_adj] = Get_adjusted_signal(TG,id,baseline_val)

Description: This function corrects the baseline of the original glucose signal and adds an estimated baseline value as an offset. It operates on a timetable  containing time and glucose values. The baseline correction is performed by identifying different sections in the recording (based on potential recording gaps) and applying a modified version of the msbackadj function (msbackadj_mod) to each section. The corrected glucose signal is then adjusted by adding the estimated baseline value. The function also smooths the adjusted glucose signal using Gaussian smoothing and plots the complete adjusted signal and baseline in a figure.

Parameters:

TG: timetable

time and glucose values

id: char or string

subject's identification number

baseline_val: double

estimated glucose baseline value

Returns:

full_signal: figure

figure of complete adjusted signal and baseline

TG_adj: timetable

adjusted timetable

Get_matrix

Syntax: [matrix, mat_fig, total_Days, TG_binned] = Get_matrix(TG, window_length, window_stride, id, baseline_val, baseline_t)

Overview: This function generates a matrix from a glucose recording in which the rows correspond to the days and the columns represent time bins within a day. Each cell in the matrix contains the average glucose value corresponding to that specific day and time bin. The function allows for visualizing the glucose trends over time and provides a summary of the subject's glucose levels.

Description: The matrix generation process begins by defining the time bins within a day based on the specified window_length and window_stride. The matrix is initialized with NaN values, and the corresponding information about the subject's recording, such as the first day, last day, bin size, baseline value, baseline time, window length, and window stride, is stored in a separate table within the matrix struct.

The function then populates the matrix with the average glucose level for each day and time bin. It iterates over each day, extracts the glucose data for that day from the input timetable TG, and computes the average glucose value for each time bin using the specified window_length and window_stride. If no glucose values are available for a particular time bin, the corresponding matrix cell remains NaN.

To visualize the resulting matrix, the function plots it using the imagesc function. The x-axis represents the time bins, and the y-axis represents the recorded days. The colormap is set to "inferno" to represent varying glucose levels. The window corresponding to the baseline time is highlighted with a rectangular box.

Additionally, the function creates a binned timetable TG_binned that includes the starting time and glucose value of each bin. This timetable provides a structured representation of the binned glucose data.

Parameters:

TG: timetable

time and glucose values

window_length: duration

length of the window used to search the baseline

window_stride: duration

stride of the window used to search the baseline

id: char or string

subject's identification number

baseline_val: double

estimated glucose baseline value

baseline_t: duration

time of the day of the estimated glucose baseline level

Returns:

matrix: struct

includes the glucose matrix (double) and general information

about the subjects's recording (table)

mat_fig: figure

figure of resulting matrix

total_Days: datetime

number of recorded days

TG_binned: timetable

binned time and glucose values